## 230714 MAMA NAV AR1
ANAL | DIC+TAlk QuAAtro.ANL
RUN | 230714 MAMA NAV AR1.RUN
DATE | 7/14/2023
TIME | 1:32:21 PM
OPER | KB
COMM
METH |  | DIC | TAlk 590nm
UNIT |  | µmol/L | µmol/L
Sample ID | Cup Number | Results 2 | Results 3
Primer | 1 | 2643.4 | 2820
Null | 0 | 1387.3 | 1386.6
Null | 0 | 1383.1 | 1378
Null | 3 | 1649.1 | 1834.6
Cal. | 3 | 1650 | 1845.3
Cal. | 4 | 1650.8 | 1852.8
Null | 5 | 1843.9 | 2055.4
Cal. | 5 | 1849.9 | 2052.7
Cal. | 6 | 1847.5 | 2050.2
Null | 7 | 2039.8 | 2253.6
Cal. | 7 | 2052.1 | 2250.1
Cal. | 8 | 2050.7 | 2251
Null | 9 | 2347.7 | 2553.3
Cal. | 9 | 2348.7 | 2546.4
Null | 10 | 2654.7 | 2847.2
Cal. | 10 | 2650.3 | 2851.4
LOW CAL | 2 | 2053.4 | 2236.1
LOW CAL | 2 | 2057.2 | 2256.7
Baseline | 0 | 1386.5 | 1371.5
Null | 109 | 2337.1 | 2515
Null | 109 | 2335.5 | 2521.9
Drift | 109 | 2348 | 2543.9
Null | 0 | 1393.2 | 1387.9
Null | 25 | 2200.5 | 2263.4
LNSW NUTS | 25 | 2206 | 2308.8
LNSW NUTS | 26 | 2205.2 | 2300.1
Null | 26 | 2206.2 | 2315.5
Null | 27 | 2085.2 | 2206.4
DICKSON#195 DIC | 27 | 2086.2 | 2208
DICKSON#195 DIC | 28 | 2089.9 | 2206.6
Null | 29 | 2055.7 | 2181.1
DICKSON#186 VIAL TA | 29 | 2059 | 2178
Null | 29 | 2056.4 | 2178.7
Null | 30 | 2274.3 | 2447.8
1.1.1 | 30 | 2280.5 | 2444.6
1.2.1 | 31 | 2268.3 | 2453.3
Null | 32 | 1420.4 | 1525.3
2.1.1X4(NaCl+1400) | 32 | 1418.8 | 1530.6
Null | 33 | 1557 | 2146.6
2.1.1 PURE | 33 | 1562.1 | 2160.8
Null | 0 | 1392.3 | 1377.3
Null | 34 | 2320.8 | 2544.5
3.1.1 | 34 | 2324 | 2550.6
3.2.1 | 35 | 2423.8 | 2614.4
4.1.1 BAD PEAK | 36 | 2267.5 | 2558.1
AIR | 37 | 1099.3 | 0
4.2.1 | 50 | 2364.9 | 2583.5
5.1.1 | 51 | 2366.6 | 2601.2
5.1.2 | 52 | 2357.2 | 2564.7
6.1.1 | 53 | 2359.5 | 2565
7.1.1 | 54 | 2375.1 | 2559
7.1.2 | 55 | 2348 | 2540.1
8.1.1 | 56 | 2353.5 | 2533.9
9.1.1 | 57 | 2308.2 | 2498.5
10.1.1 | 58 | 2276.7 | 2452.2
11.1.1 | 59 | 2271.6 | 2437.5
12.1.1 | 60 | 2267.6 | 2435.2
12.2.1 | 61 | 2276 | 2440.7
13.1.1 | 62 | 2264.4 | 2431.8
14.1.1 | 63 | 2237.7 | 2433.4
15.1.1 | 64 | 2231.1 | 2436.6
15.2.1 | 65 | 2225.6 | 2427.7
4.1.1 RE | 66 | 2351.6 | 2594.1
4.1.2 | 67 | 2363 | 2620.6
4.2.1 | 68 | 2365.2 | 2608.8
5.1.1 | 69 | 2351.7 | 2570.5
5.1.2 | 70 | 2353.2 | 2574.4
Null | 69 | 2345.6 | 2564.2
Null | 71 | 2206.1 | 2297.9
LNSW NUTS | 71 | 2205.8 | 2292.3
LNSW NUTS | 72 | 2206.2 | 2320.7
Null | 72 | 2212.1 | 2317.6
Null | 0 | 1388.1 | 1379.3
Null | 110 | 2342.5 | 2531.8
Null | 110 | 2346.9 | 2542.3
Drift | 110 | 2348 | 2543.9
Baseline | 0 | 1386.5 | 1371.5
End | 0 | 1386.5 | 1371.5

## WORKSHEET
ANAL | DIC+TAlk QuAAtro.ANL
RUN | 230714 MAMA NAV AR1.RUN
DATE | 7/14/2023
TIME | 1:32:21 PM
OPER | KB
COMM
METH |  | DIC |  | DIC | TAlk 590nm |  | TAlk 590nm
UNIT |  | µmol/L |  | µmol/L | µmol/L |  | µmol/L
Sample ID |  |  | CALCULATED |  |  | CALCULATED
|  | LAB TEMPERATURE 23C |  | DICKSON CORRECTED | LAB TEMPERATURE 23C |  | DICKSON CORRECTED
LNSW NUTS |  | 2206 |  | 2221 | 2308.8 |  | 2392.8
LNSW NUTS |  | 2205.2 |  | 2220.2 | 2300.1 |  | 2384.1
LNSW NUTS |  | 2206.2 |  | 2221.2 | 2315.5 |  | 2399.5
DICKSON#195 DIC |  | 2085.2 | ASSIGNED | 2071 | 2206.4 |  | 2290.4
DICKSON#195 DIC |  | 2086.2 | ASSIGNED | 2071 | 2208 |  | 2292
DICKSON#195 DIC |  | 2089.9 | ASSIGNED | 2071 | 2206.6 |  | 2290.6
DICKSON#186 VIAL TA |  | 2055.7 |  | 2070.7 | 2181.1 | ASSIGNED | 2263
DICKSON#186 VIAL TA |  | 2059 |  | 2074 | 2178 | ASSIGNED | 2263
DICKSON#186 VIAL TA |  | 2056.4 |  | 2071.4 | 2178.7 | ASSIGNED | 2263
1.1.1 |  | 2280.5 |  | 2295.5 | 2444.6 |  | 2528.6
1.2.1 |  | 2268.3 |  | 2283.3 | 2453.3 |  | 2537.3
|  |  | CALC |  |  | CALC
2.1.1X4(NaCl+1400) |  | 1418.8 | 1475.2 | 1490.2 | 1530.6 | 1922.4 | 2006.4
2.1.1 PURE |  | 1562.1 |  | 1577.1 | 2160.8
3.1.1 |  | 2324 |  | 2339 | 2550.6 |  | 2634.6
3.2.1 |  | 2423.8 |  | 2438.8 | 2614.4 |  | 2698.4
4.1.1 BAD PEAK |  | 2351.6 |  | 2366.6 | 2594.1 |  | 2678.1
4.1.2 |  | 2363 |  | 2378 | 2620.6 |  | 2704.6
4.2.1 |  | 2364.9 |  | 2379.9 | 2583.5 |  | 2667.5
5.1.1 |  | 2366.6 |  | 2381.6 | 2601.2 |  | 2685.2
5.1.2 |  | 2357.2 |  | 2372.2 | 2564.7 |  | 2648.7
6.1.1 |  | 2359.5 |  | 2374.5 | 2565 |  | 2649
7.1.1 |  | 2375.1 |  | 2390.1 | 2559 |  | 2643
7.1.2 |  | 2348 |  | 2363 | 2540.1 |  | 2624.1
8.1.1 |  | 2353.5 |  | 2368.5 | 2533.9 |  | 2617.9
9.1.1 |  | 2308.2 |  | 2323.2 | 2498.5 |  | 2582.5
10.1.1 |  | 2276.7 |  | 2291.7 | 2452.2 |  | 2536.2
11.1.1 |  | 2271.6 |  | 2286.6 | 2437.5 |  | 2521.5
12.1.1 |  | 2267.6 |  | 2282.6 | 2435.2 |  | 2519.2
12.2.1 |  | 2276 |  | 2291 | 2440.7 |  | 2524.7
13.1.1 |  | 2264.4 |  | 2279.4 | 2431.8 |  | 2515.8
14.1.1 |  | 2237.7 |  | 2252.7 | 2433.4 |  | 2517.4
15.1.1 |  | 2231.1 |  | 2246.1 | 2436.6 |  | 2520.6
15.2.1 |  | 2225.6 |  | 2240.6 | 2427.7 |  | 2511.7
LNSW NUTS |  | 2206.1 |  | 2221.1 | 2297.9 |  | 2381.9
LNSW NUTS |  | 2205.8 |  | 2220.8 | 2292.3 |  | 2376.3
LNSW NUTS |  | 2206.2 |  | 2221.2 | 2320.7 |  | 2404.7
LNSW NUTS |  | 2212.1 |  | 2227.1 | 2317.6 |  | 2401.6

## RESULTS
ANAL | DIC+TAlk QuAAtro.ANL
RUN | 230714 MAMA NAV AR1.RUN
DATE | 7/14/2023
TIME | 1:32:21 PM
OPER | KB
COMM
METH |  | DIC |  |  | TAlk 590nm
UNIT |  | µmol/L |  |  | µmol/L
Sample ID
|  | DICKSON CORRECTED | LAB TEMPERATURE 23C |  | DICKSON CORRECTED | LAB TEMPERATURE 23C
LNSW NUTS |  | 2221 |  |  | 2392.8
LNSW NUTS |  | 2220.2 |  |  | 2384.1
LNSW NUTS |  | 2221.2 |  |  | 2399.5
DICKSON#195 DIC |  | 2071 |  | ASSIGNED | 2290.4
DICKSON#195 DIC |  | 2071 |  | ASSIGNED | 2292
DICKSON#195 DIC |  | 2071 |  | ASSIGNED | 2290.6
DICKSON#186 VIAL TA |  | 2070.7 |  |  | 2263 | ASSIGNED
DICKSON#186 VIAL TA |  | 2074 |  |  | 2263 | ASSIGNED
DICKSON#186 VIAL TA |  | 2071.4 |  |  | 2263 | ASSIGNED
1.1.1 |  | 2295.5 |  |  | 2528.6
1.2.1 |  | 2283.3 |  |  | 2537.3
2.1.1 |  | 1490.2 |  |  | 2006.4
3.1.1 |  | 2339 |  |  | 2634.6
3.2.1 |  | 2438.8 |  |  | 2698.4
4.1.1 BAD PEAK |  | 2366.6 |  |  | 2678.1
4.1.2 |  | 2378 |  |  | 2704.6
4.2.1 |  | 2379.9 |  |  | 2667.5
5.1.1 |  | 2381.6 |  |  | 2685.2
5.1.2 |  | 2372.2 |  |  | 2648.7
6.1.1 |  | 2374.5 |  |  | 2649
7.1.1 |  | 2390.1 |  |  | 2643
7.1.2 |  | 2363 |  |  | 2624.1
8.1.1 |  | 2368.5 |  |  | 2617.9
9.1.1 |  | 2323.2 |  |  | 2582.5
10.1.1 |  | 2291.7 |  |  | 2536.2
11.1.1 |  | 2286.6 |  |  | 2521.5
12.1.1 |  | 2282.6 |  |  | 2519.2
12.2.1 |  | 2291 |  |  | 2524.7
13.1.1 |  | 2279.4 |  |  | 2515.8
14.1.1 |  | 2252.7 |  |  | 2517.4
15.1.1 |  | 2246.1 |  |  | 2520.6
15.2.1 |  | 2240.6 |  |  | 2511.7
LNSW NUTS |  | 2221.1 |  |  | 2381.9
LNSW NUTS |  | 2220.8 |  |  | 2376.3
LNSW NUTS |  | 2221.2 |  |  | 2404.7
LNSW NUTS |  | 2227.1 |  |  | 2401.6